## Instructions
To complete your Green Spaces Application:
1. Choose a leader to oversee the application process, be a point of contact with the Green Spaces Team, and coordinate the implementation of any commitments made as part of your application.
2. Evaluate your space using the actions on the "Green Spaces Application" tab. Choose one of the four answers from the drop-down menu:
Note: There are several mandatory actions that are required for all levels of certification.
a) Incomplete: has the potential to be completed in your space but will not be completed during your year of certification
b) Complete: already completed or implemented
c) Committed to completing: has not been completed but you anticipate completing within the year of certification
d) Not applicable: cannot be implemented within your space. These actions will be removed from your total applicable points when calculating your score. "Not applicable" actions must be confirmed with the Green Spaces Team. Mandatory actions may not be marked as "Not applicable".
Your certification level will be automatically calculated but must be confirmed by the Green Spaces Team prior to certification. If you complete enough actions, you may receive one of three rankings:
a) Gold: at least 90% of applicable actions are complete AND an innovative action (see "Green Spaces Application" tab for info on innovative actions)
b) Silver: 75% to 89% of applicable actions are complete
c) Bronze: 50% to 74% of applicable actions are complete
3. Submit your application via email to green.spaces@ualberta.ca. The Green Spaces Team will follow up with you for a check-in prior to confirming certification.
Certified spaces will receive a certificate and be considered for a Campus Sustainability Leaders Award.
Green Spaces for Labs Application - Version 2024-02

## Green Spaces Application
GREEN SPACES CERTIFICATION FOR
LABS
Green Spaces certification helps labs adopt sustainable practices and earn recognition for their efforts. Participating labs make a collective commitment to reduce resource use, support inclusivity and improve the overall sustainability of their day-to-day operations.
Please begin by filling in your contact details below so that we can verify your certification and recognize your efforts. | [7 empty] | Drop Down Menu
Name |  |  | E-mail address |  | Phone number | Lab name |  | Incomplete
[6 empty] | Lab address |  | Complete
Principal Investigator (PI) |  |  | E-mail address |  | Phone number | No. of people in lab |  | Commited to completing
[6 empty] | Lab description |  | Not applicable
Action Number | Status | Points |  | Action Description |  |  | Additional Resources
|  | Applicable | Achieved
Mandatory Actions
1 |  | Required | 3 | Ensure all lab members, including new members, are informed and agree to follow the applicable actions on this application. |  |  |  | 1
2 |  | Required |  | Commit to reviewing your Green Spaces checklist every three months to identify areas of success and opportunities for growth that are necessary to fulfill all commitments in the checklist. Share these with your lab members. |  |  |  | 1
3 |  | Required |  | Review the Zero Waste or other University-approved recycling system in your lab space to refresh all lab members on its proper use. |  |  |  | 1
4 |  | Required |  | Review the Lab Plastics Recycling Guide with all lab members. |  |  |  | 1
5 |  | Required |  | Recycle all applicable (clean and decontaminated) paper, cardboard, plastics, glass, batteries, etc. |  |  | Certain specialty recyclables can be collected by Facilities and Operations, such as light bulbs. | 1
6 |  | Required |  | Review and implement the Green Procurement Principles as a team. |  |  |  | 1
7 |  | Required |  | Arrange for Supply Management Services to pick up and recycle surplus lab equipment that is university property (including electronics and old, cleaned out freezers). |  |  |  | 1
8 |  | Required |  | Follow best practices for hazardous waste disposal. |  |  |  | 1
9 |  | Required |  | Immediately and safely clean up and report any chemical spills as per Environment, Health & Safety guidelines. |  |  |  | 1
10 |  | Required |  | Report all leaks and running taps to the Facilities & Operations Maintenance Desk through their online portal. Urgent maintenance requests should be called in to 780-492-4833. |  |  |  | 1
Participation
11 |  | 1 | 0 | Tell another lab about the Green Spaces program. |  |  | You can request an email template to use for this action by contacting green.spaces@ualberta.ca. | 1
|  |  |  | Which lab will you tell?: ____________________________________ |  |  |  | 1
12 |  | 1 | 0 | Sign up for the Green Labs Network. By signing up you will be subscribed to a newsletter containing information and opportunities related to green labs practices. This newsletter comes out approximately once-per-semester. |  |  |  | 1
13 |  | 1 | 0 | Encourage lab members to sign up for the Sustainability Council's Sustainability Newsletter. |  |  |  | 1
14 |  | 1 | 0 | Follow @UAlbertaEMSO and/or @greenUofA on Twitter with your corporate Twitter account. |  |  |  | 1
15 |  | 1 | 0 | Arrange a sustainability-related workshop, speaker, or Do-It-Yourself session for your lab. Alternatively, attend a sustainability-related event outside your lab as a team. |  |  | Need ideas? Email green.spaces@ualberta.ca or check out some of these examples: | 1
1
E&CA also hosts periodic events like Freecycle Your Labware which you can learn about through the Green Labs Network! You can also email us at emso@ualberta.ca to request a green building tour.
Energy
16 |  | 4 | 0 | Fume hoods
16.1 |  | 1 | 0 | Shut the sash when fume hoods are not in use. |  |  | Shutting the sash not only protects you from injuries, fires and explosions, but also conserves a considerable amount of energy. Email green.spaces@ualberta.ca to request a Shut the Sash sticker. | 1
16.2 |  | 1 | 0 | Turn off your fume hood when not in use. |  |  | Check if your model is capable of this first. | 1
16.3 |  | 1 | 0 | Read and review your fume hood manufacturer’s directions. |  |  |  | 1
16.4 |  | 1 | 0 | Follow your fume hood manufacturer’s directions to keep it working properly, save energy and prolong its life. |  |  |  | 1
17 |  | 3 | 0 | Autoclaves |  |  | Read the user manual and/or contact a technician before changing settings.
17.1 |  | 1 | 0 | Only run the autoclave when full. |  |  |  | 1
17.2 |  | 1 | 0 | Turn the autoclave off or put it in standby mode when not in use. |  |  |  | 1
17.3 |  | 1 | 0 | Activate water/energy saving settings. |  |  |  | 1
17.4 |  |  | 0 | Bonus: Install a Water Mizer if your autoclave does not have water saving features. |  |  | Check manufacturer’s information. | 1
18 |  | 2 | 0 | Freezers |  |  | Follow good freezer management practices for regular and ultra-low temperature (ULT) freezers. | 1
18.1 |  | 1 | 0 | Regularly clean and defrost freezers (annually or biannually). This includes vacuuming freezer coils and checking door seals for frost build-up too. |  |  | Did You Know that ULT freezers commonly use as much energy in a year as the average Alberta household? | 1
18.2 |  | 1 | 0 | Set freezer temperatures to only be as cold as required (consider setting ULTs to -70°C instead of -80°C; or regular freezers to -17°C instead of -20°C) |  |  | This is especially beneficial with both ULT and regular freezers, and has many benefits, from energy savings to prolonged equipment lifespan. | 1
18.3 |  |  | 0 | Bonus: Right-size your freezers. |  |  | Freezers work most efficiently when they are full. If you have excess freezer capacity you might be able to retire an old freezer. | 1
19 |  | 2 | 0 | Establish good sample management practices
19.1 |  | 1 | 0 | Establish and maintain a sample inventory (e.g. a spreadsheet or database) to make finding and managing samples easier and more efficient. |  |  |  | 1
19.2 |  | 1 | 0 | Regularly dispose of old samples when no longer needed. |  |  |  | 1
19.3 |  |  | 0 | Bonus: Use room temperature storage for DNA and RNA samples and/or for shipping without dry ice. |  |  |  | 1
20 |  | 1 | 0 | Adjust temperature settings on heating ovens and other thermal equipment to be only as cold or as hot as minimally required. |  |  |  | 1
21 |  | 1 | 0 | Do not use chilling incubators as refrigerators. |  |  |  | 1
Equipment and Purchasing
22 |  | 3 | 0 | Equipment |  |  | Maintain and repair existing equipment and prioritize energy efficiency when purchasing equipment. | 1
22.1 |  | 1 | 0 | Identify other equipment that does not need to be left on when not in use (this does not include equipment that uses water). |  |  | E.g. ovens and chilled centrifuges, some cold rooms and environmental rooms | 1
What equipment have you identified? List them here: __________________
22.2 |  | 1 | 0 | Develop and implement a system for turning these items off and unplugging them. |  |  |  | 1
22.3 |  | 1 | 0 | Install and use appliance timers. |  |  |  | 1
23 |  | 1 | 0 | Prioritize the purchase of electronics and other appliances with a third party sustainability rating. |  |  | Examples of third party rating systems include: | 1
1
24 |  | 1 | 0 | Switch off any unnecessary lights (e.g., take advantage of natural light, only use task lighting if alone in the lab). |  |  |  | 1
25 |  | 1 | 0 | Configure energy saver settings on all computers. |  |  |  | 1
26 |  | 1 | 0 | Turn off all computers when not in use. |  |  |  | 1
27 |  | 1 | 0 | Register your equipment with Supply Management Services (SMS). |  |  |  | 1
Chemicals
28 |  | 1 | 0 | Apply the 12 principles of green chemistry to daily work. |  |  | Use safer solvents and reaction conditions: Avoid using solvents, separation agents, or other auxiliary chemicals. If you must use these chemicals, use safer ones. | 1
29 |  | 1 | 0 | Only order the amount of chemicals you need instead of buying in excess. |  |  | Did You Know the Department of Chemistry has an acetone recycler? Email green.spaces@ualberta.ca for more information. | 1
30 |  | 1 | 0 | Choose less hazardous or ‘green’ options where available. |  |  | E.g., use ethidium bromide alternatives, use heptane(s) instead of hexane(s), use spirit (alcohol) thermometers instead of mercury thermometers. | 1
1
Water | [7 empty] | 1
31 |  | 1 | 0 | Run the glassware washer only when it is full. |  |  |  | 1
32 |  | 1 | 0 | Use distilled water only when needed and use the minimum necessary for each task. |  |  | Changing water distillation practices will help reduce energy and conserve water. | 1
33 |  | 1 | 0 | Install or use timers on continuous or critical water uses. |  |  |  | 1
34 |  | 1 | 0 | Turn off equipment that uses water when not in use. |  |  |  | 1
35 |  |  | 0 | Bonus: Use water substitutes (such as Bath Armor™ Beads), which can replace water in water baths, aluminum blocks in dry baths, or ice in ice buckets. |  |  |  | 1
36 |  |  | 0 | Bonus: Replace water aspirators with vacuum pumps that don't use water. |  |  |  | 1
37 |  |  | 0 | Bonus: Use alternative cooling systems instead of continuous flow water for cooling. |  |  |  | 1
Field Work
38 |  | 1 | 0 | Follow the idling guidelines as per the university’s Vehicle Management and Driver Safety Policy. |  |  |  | 1
39 |  | 1 | 0 | Use non-aerosol insect repellants and sunscreen. |  |  |  | 1
40 |  | 1 | 0 | Choose the most sustainable transportation methods for each task. |  |  |  | 1
41 |  | 1 | 0 | Review the Leave No Trace Principles as a team and train staff on ways to minimize their environmental impact while in the field. |  |  |  | 1
42 |  | 1 | 0 | Join the Field Research newsletter to receive notices of training courses, equipment availability and policy changes. |  |  |  | 1
Lab and Office Supplies
43 |  | 2 | 0 | Purchase Lab supplies that are readily reusable
43.1 |  | 1 | 0 | Buy bulk pipette tips and refill old pipette tip boxes. |  |  |  | 1
43.2 |  | 1 | 0 | Use autoclavable glassware instead of disposable plasticware whenever possible. |  |  |  | 1
44 |  | 4 | 0 | Reduce your paper consumption and impact by:
44.1 |  | 0.5 | 0 | Sharing electronic documents such as meeting agendas and using electronic editing tools unless printing is necessary. |  |  |  | 1
44.2 |  | 0.5 | 0 | Changing printer default settings to double-sided to ensure double-sided printing whenever possible. |  |  |  | 1
44.3 |  | 0.5 | 0 | Collecting scrap paper from old documents and use it for written work when applicable. |  |  |  | 1
44.4 |  | 0.5 | 0 | Choosing online subscriptions for journals and magazines. |  |  |  | 1
44.5 |  | 1 | 0 | Choosing paper that has a minimum of 30% recycled content. |  |  |  | 1
44.6 |  | 1 | 0 | Choosing paper that has a third party certification for sustainability. |  |  |  | 1
Kitchen
45 |  | 2 | 0 | Encourage coworkers to use kitchen amenities by:
45.1 |  | 0.5 | 0 | Supplying reusable dishware, cutlery, and cups. |  |  |  | 1
45.2 |  | 0.5 | 0 | Supplying reusable takeout containers. |  |  |  | 1
45.3 |  | 0.5 | 0 | Encouraging coworkers to use reusable mugs for coffee and tea purchased on campus. Some Green Spaces certified vendors offer discounts when you do. |  |  | For example, tell them about these discounts: | 1
45.4 |  | 0.5 | 0 | Ensuring coworkers are aware of shared kitchen resources such as refrigerator space, a microwave, or a toaster. |  |  |  | 1
46 |  | 1 | 0 | Provide reusable dishes for larger meetings where food and/or drink are served. |  |  |  | 1
Transportation
47 |  | 1 | 0 | Facilitate the use of sustainable modes of transportation while office members are travelling off campus during work hours. |  |  | Consider walking, cycling, public transit, carpooling, efficient rental cars, or a corporate Communauto (formerly Pogo) carshare account. | 1
The Universal Transit Pass (U-Pass) provides eligible students with unlimited access to regular Edmonton, St. Albert and Strathcona County Transit services on a term-by-term basis.
48 |  | 1 | 0 | Encourage coworkers to use sustainable transportation when travelling to and from work. |  |  | For example, share some of these resources: | 1
49 |  | 1 | 0 | Use video teleconferencing tools for meetings, planning sessions, and more to reduce travel. |  |  |  | 1
Safe Work Environments | [7 empty] | 1
50 |  | 1 | 0 | Encourage lab users to familiarize themselves with services offered by their respective representative associations. |  |  |  | 1
51 |  | 1 | 0 | Confirm that all lab users have conducted an online ergonomic self-assessment. |  |  |  | 1
52 |  | 2 | 0 | Be prepared to administer First Aid in your office by: |  |  |  | 1
52.1 |  | 1 | 0 | Ensuring one person is First Aid certified for every 10 lab members. |  |  |  | 1
Your certified lab member(s): ____________________________________
52.2 |  | 1 | 0 | Ensuring that First Aid supplies are available in your lab and all lab members know where they are located. |  |  |  | 1
53 |  | 1 | 0 | Review fire emergency procedures with lab members annually. |  |  |  | 1
54 |  | 1 | 0 | Display a list of relevant emergency contacts in your lab. |  |  |  | 1
Social Good | [7 empty] | 1
55 |  | 4 | 0 | Promote wellness in your lab by: |  |  |  | 1
55.1 |  | 1 | 0 | Planning social activities outside of scope of your lab's work. |  |  | For example: potlucks, board game lunches, walking breaks, or attending campus events together. | 1
1
55.2 |  | 1 | 0 | Informing lab members about the benefits of taking mindfulness breaks. |  |  |  | 1
55.3 |  | 1 | 0 | Sharing information with coworkers on upcoming events related to health and wellbeing. |  |  |  | 1
55.4 |  | 1 | 0 | Encouraging lab members to take stairs instead of elevators. |  |  |  | 1
56 |  | 1 | 0 | Organize opportunities for the lab to collectively contribute to community organizations and services. |  |  | Examples include food drives, charity runs, volunteer days, or other public good projects. | 1
57 |  | 1 | 0 | Incorporate health and well-being information and awareness building into procedures for onboarding new lab members. |  |  | E.g., discuss services and resources available through the Employee Family Assistance Program, Healthy Campus Unit and the Helping Individuals at Risk program | 1
58 |  | 1 | 0 | Discuss the Discrimination, Harassment and Duty to Accommodate Policy and the services offered by the Office of Safe Disclosure and Human Rights at lab meetings annually |  |  |  | 1
Innovation
This section asks you to contribute a sustainability action that you will implement in your space.
1. The action should be related to sustainability and achievable in your space within the year-long certification.
2. The action may not duplicate any action previously on this list. It may, however, extend one of the above actions.
3. If you are recertifying, your innovative action may remain the same if there is still growth left to complete the action to full satisfaction. If the action is embedded and there is no more room for growth, please consider a new innovation.
59 |  | 1 | 0 | Create your own Innovative Action |  |  |  | 1
Totals
|  | Applicable | Achieved
| Totals | 64 | 0 | Certification level: | Not yet certified - commit to a few more actions!
| Percent of applicable points achieved: | 0% |  | Mandatory actions: | One or more mandatory actions is incomplete. Please complete before submitting application
Green Spaces for Labs Application - Version 2024-02
Click here for more info on Zero Waste, recycling, and organics collection at the University.
Click here to subscribe to Sustainability News.
Equity, Diversity, and Inclusion Learning and Development Opportunities
Campus & Community Recreation Wellness
Sustainability Council Events
ENERGY STAR®
EPEAT
Association of Academic Staff (AASUA)
Graduate Students' Association (GSA)
Click here for the online self-assesment, offered by Environment, Health and Safety.
First Aid courses are offered through Campus and Community Recreation. Click here to learn more.
Learn more about mindfulness by clicking here.
Check out some University Health and Wellbeing events at this website.
Lab Plastics Recycling Guide
Click here to subscribe to the Green Labs Network newsletter
Click here to learn more about the Room Temperature Storage of Biological Samples
We recommend Forest Stewardship Council® certification. Click here for more info.
List of certified vendors is available at the bottom of the page.
Campus members can borrow reusable dishes from the Students' Union for this! Click here to learn more.
Click here for an e-conferencing toolkit with some helpful tips and resources.
Edmonton Bike Info
Bicycle Safety
UofA Bike Library
Bike Maintenance
UofA Carpool Permit
Edmonton Car Share
UofA Parking Services Sustainability Initiatives
Green Procurement Principles
Supply Management Services
Dispose of hazardous waste through Health, Safety + Environment
Report an Issue
Green Labs eClass Training
You can find tips for reducing your freezer energy use here.
ULT Freezer Energy Efficiency Rebates
Click here to contact Equipment Services to begin this process.
Basics of Green Chemistry
Sigma-Aldrich
ThermoFisher
ACT Label (My Green Lab)
Vehicle Managment and Driver Safety Policy
Click here to read about how members of the Department of Biological Sciences used bikes instead of ATVs where possible.
Leave No Trace Canada
Field Research Office
Sign up here to keep current on field research news!
Try out the Paper Calculator to measure the impact of your paper use.
Paper Cut Tip Sheet: learn about the University's initiative to reduce paper use.
Contact your area's Facility Services Manager
Click here to learn more about how Campus St-Jean teaching labs built a water recycling system.
Non-Academic Staff Association (NASA)
Students' Union (SU)
Learn more aboute University of Alberta Policies and Procedures Online (UAPPOL) at their website.
Adopt-a-week of the Campus Food Banks community pantry