Submitted for Presentation in EEGSACH2M Hill conference

Performance of Ultra Low Pressure Reverse Osmosis (ULPRO) Membrane for Separating Heavy Metal: Effects of Interference Parameters.

Kusumakar Sharma1,Hiroaki Ozaki2, Wilasinee Saktaywin3

1 Department of Civil and Environmental Engineering, University of Alberta, Canada

2 Department of Civil Engineering, Osaka Sangyo University, Osaka 574-8530 Japan

3 Pollution Control Department, Ministry of Sc., Tech. and Envi., Bangkok 10400 Thailand.

ABSTRACT

An experimental investigation was conducted to study the performance of aromatic polyamide ultra-low pressure reverse osmosis (ULPRO) membrane for separating divalent (Cu2+, Ni2+) and hexavalent (Cr6+) heavy metals from bulk solution. The influence of operating pressure, feed concentration, pH, and effect of feed concentration of competing ions (Ca2+ and Mg2+) on the ULPRO performance was determined. The investigation was conducted for synthetic wastewater and real wastewater from heavy metal industry. Experimental results show that the rejection increased with pressure, the rejection decreased up to pH value of 5 and increased above this value of pH. Increasing feed concentration of competing ions slightly decreased the rejection of heavy metals. Generally rejection of heavy metal is found to be greater than ninety five percent for the ULPRO membrane, which turned out to be well suited for industrial scale application of ULPRO for recovering heavy metal and reclaiming water.

KEY WORDS

Ultra low pressure reverse osmosis, membrane, heavy metal, rejection, flux, wastewater

The horizon of reverse osmosis (RO) water treatment industry has been widened in the past several years by the introduction of a new generation of ULPRO membranes. These new membranes have helped the technology become much more affordable and cost effective by reducing the energy consumption required to operate the RO system. The energy required to pressurize the RO feed water has always been the largest component to operate RO plant and limiting the application of RO systems. The operating and capital cost savings provided by the new generation membrane combine to bring the expense for RO water treatment plants in line with the costs for conventional water treatment plants. The ULPRO membranes have also received attentions for application in the field of wastewater treatment. The applications of these membranes in the industrial wastewater treatment would be beneficial from heavy metal recovery and enhanced water reuse and recycle. Literatures lack of the systematic study of the heavy metal (Cu, Ni, Cr) rejection by ULPRO membranes and systematic study on the effect of interference parameters. The objectives of this paper are to study the rejection of Copper, Nickel and Chromium using ULPRO membranes and to determine the effect of interference parameters then to compare the results of synthetic wastewater with the real wastewater from heavy metal industry.

A negatively charged aromatic polyamide flat sheet ULPRO membrane (ES20 by Nitto Denko, Japan) with effective surface area of 60 sq. cm., mounted in the crossflow module was used in the laboratory scale experiment under the operating pressure  of 0.1-0.7 MPa (max. 1 MPa) in the temperature range of 250C-270C.  Synthetic wastewater containing heavy metals (prepared separately for single compound by dissolving CuCl2.2H2O, NiCl2.6H2O and CrN3O9.9H20 in distilled water) was used in the first part of the experiment to study the rejection pattern and determine the effect of interference parameters (operating pressure, feed heavy metal concentration, pH, and effect of concentration of competing ions, Ca2+ and Mg2+). In the second part, wastewater from electroplating industry (containing heavy metals used in the synthetic wastewater) was studied to compare the both results.

The performance of ULPRO membrane was evaluated by using sodium chloride. The results show that the flux is slightly linear with a negative slope in higher feed concentration, whereas the higher the feed concentration the higher is the rejection. The highest permeate flux obtained under the experimental condition of 0.5 MPa operating pressure, 5mg/L of NaCl and pH of 6.2 is 25.6 L/m2/h. The rejection of heavy metals increases on increasing the pressure, however the rejection is almost linear after the operating pressure of 0.5 MPa, indicating this value to be optimum pressure.  Nickel, being hexavalent, is rejected highest, while Copper and Nickel are rejected above 95%.

The rejection is found to decrease with the increasing feed pH to a certain point (pH 5) and then is found to increase. The reason is that the surface material of composite ULPRO membrane is negatively charged in a neutral and alkaline aqueous solution, positively charged in an acidic aqueous solution and have zero potential charge (zpc) a certain potential pH range. The value of zpc, reported for ES20, is above around pH 3. The result of minimum rejection of metals at around pH 5 is in accordance with the membrane zpc value of above 3. The increasing feed concentration of competing compounds, Ca2+ and Mg2+ tend to slightly decrease the rejection of heavy metals. The phenomenon could be attributed to the electroneutrality requirements on both sides of the membrane and to the Donan potential.

The results of the synthetic wastewater and wastewater from electroplating industry are compared in Table 1.

Table 1     Performance Comparison among Ni, Cu and Cr Removal from Synthetic

Wastewater and Wastewater from Electroplating Industry by ES20 membrane

| Metals | Synthetic Wastewater % Rejection at 0.35 MPa | Electroplating Ind. Wastewater |
| --- | --- | --- |
|  |  | % Rejection at 0.45 MPa |
|  | pH 3 | pH 7 | pH 3 | pH 7 |
| Ni Cu Cr | 98.88 98.83 99.01 | 99.23 99.71 99.91 | 98.12 98.03 95.02 | 99.03 98.75 99.37 |

The results show that the performance of ULPRO membrane with the real wastewater gives slightly lower efficiency than the results obtained by using synthetic wastewater due to presence of different ions and other impurities that have effects on the performance of membrane.